## Sheet1
Agilent N67xx Power Supply Output Setup
Instrument Addresses
N6700 Power Supply
Enter Inputs
Voltage (V) | 1
Over-voltage (V) | 2
Current Limit (A) | 1
Measurement Results
Measured Voltage (V)
Description
Configures channel 1 and enables the output of an Agilent N6700 power supply using the AgN67xx IVI-COM driver.
Instructions for Running:
1. Enter a VISA address for an N67xx power supply in the worksheet.
2. Enter the inputs in the spreadsheet.
3. Click Run in the Command Expert Ribbon.
Operation:
1. Reset the power supply.
2. Configure the voltage, current limit, and over-voltage protection for channel 1.
3. Enable the output on the selected channel.
4. Wait for output to settle.
5. Measure the voltage.
6. Leave the output enabled.
Requirements:
This example was written using the AgN67xx IVI driver for N67xx series of power supplies. This example was tested with version 1.2.2.0 of the AgN67xx driver. This example was tested with the following instrument(s): N6700B(ver C.02.18).
You have a royalty-free right to use, modify, reproduce and distribute this example program (and/or any modified version) in any way you find useful, provided you agree that Agilent Technologies has no warranty, obligations, or liability for any example programs.
Note on B4: Enter a VISA instrument address. The address can be: - A VISA resource such as GPIB0::10::INSTR - A VISA alias such as USBInstrument1 - % as first character to work offline, such as %GPIB0::10::INSTR - Blank to work offline
Note on B7: Enter the output voltage for the selected channel.
Note on B8: Enter the over-voltage protection level.
Note on B9: Enter the output current limit level.
Note on A12: The measured DC output voltage.