## Sheet1
Configure Output for Agilent N6700 Power Supply
Instrument Addresses
N6700 Power Supply
Enter Inputs
Channel | @1
Voltage (V) | 1
Over-voltage (V) | 2
Current Limit (A) | 1
Measurement Results
Measured Voltage (V)
Description
Configures selected channel and enables the output of an Agilent N6700 power supply.
Instructions for Running:
1. Enter an address for an N6700 power supply in the worksheet.
2. Enter the inputs in the spreadsheet.
3. Click Run in the Command Expert Ribbon.
Operation:
1. Reset the power supply.
2. Configure the selected channel based on user inputs.
3. Enable the output on the selected channel.
5. Wait for output to settle.
6. Measure the voltage.
7. Leave the output enabled.
Requirements:
This example was written for the N6700 family of power supplies. This example was tested with the following instrument(s): N6700B (ver. C.02.18).
You have a royalty-free right to use, modify, reproduce and distribute this example program (and/or any modified version) in any way you find useful, provided you agree that Agilent Technologies has no warranty, obligations, or liability for any example programs.
Note on B4: Enter an instrument address. The address can be: - An IP address such as 192.168.0.1 - A hostname such as MyInstrument.MyDomain.com - A VISA resource such as GPIB0::10::INSTR - A VISA alias such as USBInstrument1 - A blank cell or empty string to simulate - Any text starting with % to simulate, such as %192.168.0.1
Note on B7: Enter the power supply output channel to be configured. Valid entries are "@1", "@2", "@3", "@4", corresponding to channels 1 through 4.
Note on B8: Enter the output voltage for the selected channel.
Note on B9: Enter the over-voltage protection level.
Note on B10: Enter the output current level.
Note on B11: Enter the settling time between when the output is enabled and the voltage is measured.
Note on A13: The measured DC output voltage.